## Slide 1: IoT Based Optimal Coordination of Protective Devices for FREEDM System

## Slide 2: Supervisors
Prof. Dr. : Magdi M. El-Saadawi
Electrical Engineering Department
Faculty of Engineering
Mansoura University
Dr. Bishoy E. Sedhom Beshay
Electrical Engineering Department
Faculty of Engineering
Mansoura University
.

## Slide 4: Today’s Agenda
first
Introduction to FREEDM
What, Why & How?
Solid State Transformer
Proposed Design & Implementation as well as Simulation Analysis.
second
Protection Schemes
Differential & Over Current Protection.
third
IoT Prototype
Internet of Things Features. Prototype Simulation.
last

## Slide 5: Introduction
What is FREEDM Smart Grid?
1

## Slide 6: Smart Grid
Electrical grid that's integrated with a computerized, two-way communication network.
Real-time monitoring modify and tune itself to an optimal state of performance.
Renewable energy ultimate integration.

## Slide 8: FREEDM
The rise of renewable energy & computerized optimization.

## Slide 9
Notes: Talk about : IOT DESD + DRER

## Slide 10: We can split the main functionality:
Distributed Grid Intelligence
System brain. Centralized command and control unit.
Fault Isolation Device
Computerized protection relay unit.
Solid State Transformer
Collection of flexible high-powered semiconductors.
Notes: بخلاصة كده , كل اللي فات نقدر نقول ان أهم 3 عناصر هما :

## Slide 11: Solid State Transformer
Proposed Design and Implementation.
2

## Slide 12: SST Features
Allows two-way power flow .
AC or DC power as Input or output.
Actively change power characteristics such as voltage and frequency levels.
Improve power quality (reactive power compensation and harmonic filtering).

## Slide 13: MATLAB Simulink
Libraries of predefined blocks for modeling continuous-time and discrete-time system.
Scopes and data displays for viewing simulation results.
Simulation engine with fixed-step and variable-step ODE solvers.

## Slide 14
Notes: 4 / 5 / 6 stages , we chose the 3

## Slide 15: Stage 2 DC-DC
The DC-AC sub-stage inverts and generates high frequency to (HFT).
The AC-DC sub-stage rectifies the output current of the HFT.

## Slide 16
Notes: 4 / 5 / 6 stages , we chose the 3

## Slide 18
SST Stand-alone Results
Stage 1 Stage 3

## Slide 19
SST Stand-alone Results
Stage 2 Stage 2

## Slide 20
SST Stand-alone Results
Stage 3

## Slide 21
Enhanced IGBT Controller

## Slide 22: SST Operation with Different Sources
Photovoltaic Mode & Battery Mode.

## Slide 25
Stage 2 Stage 3
Photovoltaic Mode Results

## Slide 26
Stage 2 Stage 3
Battery Mode Results

## Slide 27: FREEDM System Simulation
Three bus loop distribution system.

## Slide 29
Bus 2 Bus 1
Bus Voltage Results

## Slide 30
Line 2-3 Line 1-3
Line Currents Results

## Slide 31: Protection Schemes
Proposed Design and Implementation.
3

## Slide 32: Why Protection?
The power system is subject to constant disturbances.
Maximizing the lifespan for equipment.
The quickness of response is an essential element, response time of the order of a few milliseconds are often required.

## Slide 33
Ultra-fast compared to traditional circuit breaker.
SSFID with IGBTs in series and Diodes.
Fault Isolation Device

## Slide 35: At Fault Operation
Severe effects without protection system.
Notes: simulation

## Slide 37
Current at line 1-2
Voltage at line 1-2
Three phase to ground fault
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 38: Transmission Line protection
Notes: simulation

## Slide 39: Differential Protection
Notes: simulation

## Slide 41
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 42
Three phase to ground fault
Current difference at line 1-2
Current at line 1-2
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 43: Overcurrent Protection
Notes: simulation

## Slide 45
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 46
Main relay block
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 47
Three phase to ground fault
Current at line 1-2
Notes: All the Three Phases to Ground Fault – It is the most severe type of the fault and very rarely occurs in the power system. It occurs due to a breakdown of insulation between all the phases as well as to the earth.

## Slide 48: Integration of IoT
The future is here!
4
Notes: Smart meters, management , FID , etc
Can we make it real ? Prototype is here!
عصب المشروع بتاعنا
في الاول والاخر احنا بنعمل implementation based on IoT
و زي ما بيقول العنوان , المستقبل وصل!

## Slide 49: Internet of Things
A Network in which all physical objects are connected to the internet.
Basically an integration of computing and networking.
Mckinsey Global Institute reports that IoT business will reach 6.2 trillion in revenue by 2025.

## Slide 50: IoT in Power Systems
The rise of renewable energy & computerized optimization.
Notes: نهضة أو ثورة صعد علي اعتبابها الطاقة المتجددة و الحلول الحاسوبية.
كومبيوتر = سرعة وكفائة
To make computers fit in easily

## Slide 51
Notes: Let’s explore an example:
DRER + DESD , Germany harvests 38.5 GW , china 28 GW
Trans + Dist = smart routing
Economic dispatch ( college subjects)

## Slide 52: We can split the main functionality:
Distributed Grid Intelligence
System brain. Centralized command and control unit. Gateway to the outside world.
Fault Isolation Device
Computerized protection relay unit. Automated multi-tasking nodes. Ultra-fast and responsive.
Notes: Dgi can be microcontroller , PC , server , entire cloud!
Gateway = router

## Slide 53: Raspberry Pi 3 Model B+
Cortex (ARMv8) 64-bit @ 1.4GHz.
1 GB RAM.
Gigabit Ethernet + 2.4GHz and 5GHz 802.11.b ac wireless LAN.
Extended 40-pin GPIO header.
5V/2.5A DC power input.
Notes: Real computer!
OS
Internet

## Slide 54: Arduino MEGA
Flash Memory: 256 KB & SRAM: 8 KB
Clock Speed: 16 MHz
Operating Voltage: 5 V
Digital I/O Pins: 54 (of which 15 provide PWM output).
Notes: Analog pins for sensors
Digital pins for control

## Slide 55
Notes: سيناريو أبسط

## Slide 57: Prototype Design & Implementation
Using Proteus software simulator.
5

## Slide 60
DC Grid Single Line Diagram

## Slide 62: Solar Cell Unit
CO₂-free.
Long lifespan, up to 25 years.
Egypt’s excellent natural advantage.
Notes: https://en.wikipedia.org/wiki/Benban_Solar_Park
1.6 Nameplate capacity = rated.

## Slide 64: ACS712 Current Sensor
Supply Voltage: 4.5V~5.5V DC
Current Range: -30A~ 30A
Sensitivity: 66mV/A

## Slide 66: Fault Isolation Device
Operating Voltage: 5 V
Digital I/O Pins: 54 (of which 15 provide PWM output).
Ultra-fast compared to traditional circuit breaker.

## Slide 70: Power Prioritization
The power sources in our FREEDM system is assigned a certain set of rules in order to optimize the load reliability and the economic cost.
PV unit > Battery unit > DC grid.

## Slide 76: Protection Coordination
Within our system, there two types of protection methods are being used:
- Differential protection for the main line.
- Over current protection for the load. (Backup)
Differential Protection > Over current Protection.
Notes: An alternative principle for line protection that is quickly becoming the norm is differential protection.
The most important advantage of transmission line differential protection function is unaffected to external faults

## Slide 77
Overcurrent Protection Zone

## Slide 78
Overcurrent Protection Implementation

## Slide 83
Differential Protection Implementation

## Slide 84
Differential Protection Zone

## Slide 85
Protection Zones

## Slide 87: Future Work
As a consequence of the current COVID-19 pandemic.

## Slide 88: The Final big Picture
Management & Control
Protection Schemes
Cyber Security
Plug & Play

## Slide 90: Thanks!
Any questions?